HAZARDOUS STORAGE TANK SAFETY INSPECTION CHECKLIST Fire, Explosion Prevention & Emergency Preparedness — Process HSE Engineering

Document Control

| Document No. | HSE-TNK-CHK-001 | Revision No. | 00 |
| --- | --- | --- | --- |
| Effective Date | ____ / ____ / 2026 | Review Cycle | Annual |
| Facility / Site | ____________________ | Tank Farm / Area | ____________________ |
| Department | HSE / Process Safety | Classification | Hazardous Storage Tank |

Tank Identification

| Tank ID / Tag No. | ____________________ | Tank Type | Fixed Roof / Floating Roof / Bullet / Sphere |
| --- | --- | --- | --- |
| Product Stored | ____________________ | Hazard Class | Flammable / Toxic / Combustible |
| Capacity (m³ / bbl) | ____________________ | Year Commissioned | ____________________ |
| Location / Bund Area | ____________________ | Zone Classification | ____________________ |

SECTION A — PURPOSE & SCOPE

This checklist is to be used by the Process / HSE Engineer to verify the mechanical integrity, fire and explosion prevention safeguards, and emergency preparedness status of hazardous storage tanks. Mark each item as Y (Compliant), N (Non-Compliant), or NA (Not Applicable) and record remarks / corrective actions where required.

SECTION B — STRUCTURAL & MECHANICAL INTEGRITY

| S.No | Inspection Checkpoint | Frequency | Compliance (Y / N / NA) | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Tank shell, roof, and floor free of visible corrosion, pitting, cracks, or bulging | Quarterly |  |  |
| 2 | Foundation / settlement check — no tilting, cracking, or subsidence observed | Annual |  |  |
| 3 | Nozzles, manways, and flanges free of leaks, corrosion, and loose bolting | Monthly |  |  |
| 4 | Pressure/vacuum relief valves (PVRV) functional, unobstructed, and within calibration | Quarterly |  |  |
| 5 | Level gauges, high-level alarms, and overfill protection devices tested and functional | Monthly |  |  |
| 6 | Bund wall / secondary containment intact, adequate capacity, and drain valves closed | Monthly |  |  |
| 7 | External coating / paint system intact (corrosion protection) | Annual |  |  |
| 8 | Internal inspection (API 653 / equivalent) up to date and certificate valid | As per API 653 schedule |  |  |
| 9 | Tank grounding/earthing continuity verified (resistance within limits) | Annual |  |  |

SECTION C — FIRE & EXPLOSION PREVENTION SYSTEMS

| S.No | Inspection Checkpoint | Frequency | Compliance (Y / N / NA) | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Fixed fire-fighting system (foam/water spray/deluge) inspected and operational | Monthly |  |  |
| 2 | Fire hydrants, monitors, and hose reels in the tank area accessible and functional | Monthly |  |  |
| 3 | Portable fire extinguishers in place, in-date, and correctly rated for Class B fire | Monthly |  |  |
| 4 | Flame arrestors / conservation vents on vents inspected and unobstructed | Quarterly |  |  |
| 5 | Gas detectors (LEL/H2S/VOC) calibrated and alarm set-points verified | Monthly |  |  |
| 6 | Fire and gas detection system linked to control room / ESD tested | Quarterly |  |  |
| 7 | Minimum safe distance / spacing from ignition sources maintained | Quarterly |  |  |
| 8 | Hot work permit controls enforced within hazardous zone boundary | Continuous / Audit basis |  |  |
| 9 | Vapor recovery / emission control system functioning correctly | Monthly |  |  |
| 10 | Explosion relief panels / weak roof-to-shell seam intact (fixed roof tanks) | Annual |  |  |

SECTION D — ELECTRICAL, STATIC & LIGHTNING PROTECTION

| S.No | Inspection Checkpoint | Frequency | Compliance (Y / N / NA) | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Lightning protection system (air terminals, down conductors) inspected | Annual |  |  |
| 2 | Earthing and bonding points at loading/unloading connections verified | Quarterly |  |  |
| 3 | Static grounding straps for tank trucks/rail cars tested before use | Every loading operation |  |  |
| 4 | Electrical equipment in hazardous area certified Ex-rated and intact (no damaged glands) | Quarterly |  |  |
| 5 | Cathodic protection system (impressed current / sacrificial anode) monitored | Monthly |  |  |
| 6 | Area classification (Zone 0/1/2) drawings current and posted | Annual |  |  |

SECTION E — EMERGENCY PREPAREDNESS & RESPONSE

| S.No | Inspection Checkpoint | Frequency | Compliance (Y / N / NA) | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Emergency Response Plan (ERP) for tank farm current and accessible | Annual review |  |  |
| 2 | Emergency shutdown (ESD) system tested and functional | Quarterly |  |  |
| 3 | Muster point signage, evacuation routes, and wind socks clearly visible | Monthly |  |  |
| 4 | Emergency contact list and escalation matrix displayed and up to date | Quarterly |  |  |
| 5 | Fire and emergency drills conducted for tank farm scenario (spill/fire/explosion) | Semi-annual |  |  |
| 6 | Spill containment / absorbent materials and spill kits available and stocked | Monthly |  |  |
| 7 | Personal protective equipment (PPE) and SCBA sets available and inspected | Monthly |  |  |
| 8 | Communication systems (PA, radio, emergency phones) tested and operational | Monthly |  |  |
| 9 | Mutual aid / external emergency services coordination confirmed | Annual |  |  |
| 10 | Incident investigation and corrective action tracker reviewed and closed out | Monthly |  |  |

SECTION F — LEADING INDICATORS (PROACTIVE KPIs)

NOTE: Leading indicators measure proactive safety efforts that help prevent incidents before they occur.

| Indicator | Definition / Metric | Target / Threshold | Reporting Frequency | Data Source |
| --- | --- | --- | --- | --- |
| Safety Observations / Near-Miss Reports | No. of proactive safety observations and near-misses reported per month for tank area | ≥ 10 / month | Monthly | HSE Reporting System |
| Inspection Completion Rate | % of scheduled tank inspections completed on time | 100% | Monthly | Inspection Tracker |
| Permit-to-Work Compliance | % of hot work / confined space permits audited with full compliance | ≥ 95% | Monthly | PTW Audit Log |
| Preventive Maintenance Completion | % of PM tasks (PVRV, gas detectors, fire system) completed within schedule | ≥ 95% | Monthly | CMMS |
| Emergency Drill Participation | % of assigned personnel participating in scheduled drills | 100% | Semi-annual | Training Records |
| Corrective Action Closure Rate | % of HSE findings/actions closed within target due date | ≥ 90% | Monthly | Action Tracker |
| Training Compliance | % of tank-area personnel current on HSE / emergency response training | 100% | Quarterly | LMS / Training Matrix |

SECTION G — LAGGING INDICATORS (OUTCOME KPIs)

NOTE: Lagging indicators measure the outcomes of safety performance after an incident or failure has occurred.

| Indicator | Definition / Metric | Target / Threshold | Reporting Frequency | Data Source |
| --- | --- | --- | --- | --- |
| Loss of Primary Containment (LOPC) Events | No. of tank leaks, spills, or overfills recorded | 0 | Monthly | Incident Register |
| Fire / Explosion Incidents | No. of fire or explosion events involving tanks | 0 | Monthly | Incident Register |
| Lost Time Injury Frequency Rate (LTIFR) | LTIs x 200,000 / total man-hours worked in tank farm area | ≤ Company target | Monthly | HSE Statistics |
| Environmental Non-Compliance | No. of reportable environmental exceedances / spills | 0 | Monthly | Regulatory Log |
| Total Recordable Incident Rate (TRIR) | Recordable incidents x 200,000 / total man-hours | ≤ Company target | Quarterly | HSE Statistics |
| Equipment Failure Events | No. of critical safety device failures (PVRV, gas detectors, ESD) | 0 | Monthly | Maintenance Log |

SECTION H — INSPECTION SIGN-OFF

| Conducted By | Reviewed By | Approved By | Date of Inspection |
| --- | --- | --- | --- |
| Process / HSE Engineer | HSE Supervisor / Manager | Plant / Site Manager |  |
| Name & Signature | Name & Signature | Name & Signature | Next Inspection Due |

Remarks / Corrective Actions Required: